⚡ BESS Tracker Field Service Portal Operation Manual

Version 1.0 ¦ 2026 For PV/BESS Field Service Engineers

# 1.  Introduction

BESS Tracker is a desktop application for PV/BESS field service engineers. It provides a centralised platform to manage projects, track daily maintenance, run commissioning checklists, manage spare parts inventory, and generate performance reports.

## 1.1  System Requirements

| Component | Requirement |
| --- | --- |
| Operating System | Windows 10 or Windows 11 (64-bit) |
| Installation | Run BESS_Tracker_Setup.exe — no additional software required |
| Storage | 50 MB for application + space for database |
| Screen Resolution | 1280 × 720 minimum (1920 × 1080 recommended |

## 1.2  First Launch

- Double-click the BESS Tracker icon on your Desktop or Start Menu.

- The application opens on the Dashboard page.

- The database file (pv_bess_tracker.db) is created automatically in the same folder as the application.

NOTE: Always keep pv_bess_tracker.db in the same folder as BESS Tracker.exe. This file contains all your data — back it up regularly.

# 2.  Navigation

The application uses a left sidebar for navigation. Click any item to switch pages. The sidebar is divided into sections:

| Section | Pages | Purpose |
| --- | --- | --- |
| OVERVIEW | Dashboard | Live KPI cards and recent events |
| OPERATIONS | Daily Log | Record material usage per container |
|  | Work Log | Record fault / repair events |
|  | Checklists | Commissioning and inspection checklists |
| ASSETS & STOCK | Asset Register | Manufacturer, model, firmware per container |
|  | Spare Parts | Warehouse stock levels and transactions |
|  | Materials | Materials catalog with descriptions |
| REPORTS & KPI | Reports | Filter, view and export daily logs |
|  | Work Report | Work log summary and top issues |
|  | Lifecycle | Full container history by serial number |
|  | Analytics | Material and block usage analytics |
|  | KPI Dashboard | MTTR, MTBF, resolution rates |
|  | SCADA Report | Generate PDF from SCADA export files |

Project management buttons are at the bottom of the sidebar:

- ➕ New Project — create a new project with full zone/block/container configuration

- 🔧 Edit Project — modify an existing project structure

- ✏️ Edit Serials — assign or update serial numbers and container types

# 3.  Project Setup

## 3.1  Creating a New Project

Click ➕ New Project in the sidebar. The creation wizard has four steps:

### Step 1 — Project Information

- Enter a Project Name (required).

- Optionally add a Description.

### Step 2 — Zone Configuration

- Set the Number of Zones.

- Click Apply to generate one card per zone.

- For each zone card, set Blocks (number of blocks in that zone) and Cont/Blk (containers per block).

NOTE: Each zone can have a different number of blocks. This supports non-uniform site layouts.

### Step 3 — Generate Container Table

- Click ⚙ Generate Table.

- The table builds automatically with one row per container.

- Default container types are assigned: LC Cabinet (1st), PCS/Converter (2nd), Battery (3rd onwards).

### Step 4 — Fill Container Details

- Change the Type dropdown if needed.

- Enter the Serial Number for each container (or use the import template — see Section 3.3).

- Click 💾 Save Project.

## 3.2  Editing an Existing Project

Click 🔧 Edit Project in the sidebar. Select a project and click 📂 Load.

- Adjust zone/block/container counts using the zone cards.

- Click ⚙ Generate / Update Table to add new containers (blue = existing, green = new).

- 🗑 Reset & Reconfigure — wipes all containers and rebuilds from scratch. Only available if the project has no log entries.

## 3.3  Importing Serial Numbers from Excel

- Click ✏️ Edit Serials in the sidebar.

- Select a project and click 📂 Load Containers.

- Click 📋 Download Template — saves a pre-filled Excel file.

- Fill in the Serial Number column (and optionally change Type).

- Do not change Container ID, Zone, Block, or Container # columns.

- Click 📂 Import from Excel and select your filled file.

- Click 💾 Save Changes.

TIP: Always download a fresh template each time. Never reuse an old template — Container IDs change when projects are recreated.

# 4.  Daily Log

The Daily Log records material usage per container per day. Use this for consumable parts, replacements, and routine maintenance materials.

## 4.1  Adding a Log Entry

- Go to 📋 Daily Log.

- Select Project and Date.

- Select Zone → Block → Container (Serial Number and Type fill automatically).

- Type the Material Number — description auto-fills if the material is in the catalog.

- Enter Quantity.

- Add an optional Comment or SAP Ticket number.

- Click ✅ Save Log Entry.

## 4.2  Editing or Deleting Log Entries

Go to 📈 Reports, load the data with filters, then:

- Right-click any row → ✏️ Edit or 🗑 Delete

- Double-click any row to edit it directly

NOTE: Deletion is permanent and cannot be undone. A confirmation is shown before deleting.

# 5.  Work Log

The Work Log records maintenance work events — faults observed, work performed, and resolution status. This is separate from the Daily Log and is used for fault tracking and KPI calculation.

## 5.1  Recording a Work Event

- Go to 🔧 Work Log.

- Select Project and Date.

- Select Zone → Block → Container.

- Fill in Fault / Error description.

- Fill in Work Performed.

- Set Result Status:

  - Fixed — issue resolved

  - Monitoring — resolved but under observation

  - Not resolved — issue remains open

  - Escalated — requires higher-level support

- Optionally add SAP Ticket number and Comments.

- Click ✅ Save Entry.

## 5.2  Viewing and Filtering Work Logs

Go to 📋 Work Report. Use the filters (Project, Date From/To, Status) and click 🔍 Load. Three tabs are available:

- All Work Logs — full list with colour coding by status

- Status Summary — count and percentage per status

- Top Issues — most frequently serviced containers

| Status | Colour | Meaning |
| --- | --- | --- |
| Fixed | Green | Work completed successfully |
| Monitoring | Yellow | Resolved but being watched |
| Not resolved | Red | Issue still open |
| Escalated | Pink | Needs escalation or specialist |

# 6.  Commissioning Checklists

The Checklists module allows you to define inspection templates and execute them against real containers or blocks. Results are recorded with Pass/Fail/N/A and can be exported to Excel.

## 6.1  Creating a Template

- Go to ✅ Checklists → 📋 Templates tab.

- Click ➕ New Template.

- Enter a Name, select Container Type (or Multi-type for block-level), and set Scope.

- Click Save.

- In the right panel, click ➕ Add Item for each check step.

- Fill in Category, Check Item description, and Expected Value.

- Click 💾 Save Items.

## 6.2  Running a Checklist

- Go to ✅ Checklists → ▶ Run Checklist tab.

- Select Template, Project, Zone, Block, and optionally a specific Container.

- Enter Engineer name and Date.

- Click ▶ Start Checklist Run.

- For each item, set the Result dropdown (Pass / Fail / N/A) and optionally enter a measured value.

- Click ✅ Finish & Save Run when complete.

TIP: Export the checklist to Excel before closing — click 📥 Export to Excel for a formatted report with colour-coded results.

## 6.3  Viewing History

Go to ✅ Checklists → 📁 History tab. All past runs are shown with pass/fail counts. Select a row and click 📥 Export Selected to export any past run.

# 7.  Spare Parts Stock

The stock module manages spare parts across multiple warehouses. A Main Warehouse (shared across all projects) is created automatically. Each project also gets its own warehouse.

## 7.1  Setting Stock Levels

- Go to 📦 Spare Parts → 📦 Stock Levels tab.

- Select a Warehouse from the dropdown.

- In the Set / Update Stock Level panel, select a Material, enter Quantity and Min Qty, then click 💾 Set.

NOTE: Min Qty is the alert threshold. Items at or below this quantity appear with a red ⚠️ Low indicator.

## 7.2  Recording a Transaction

- Go to 📦 Spare Parts → ↕ Record Transaction tab.

- Select Warehouse and Transaction Type:

  - IN — receiving new stock into a warehouse

  - OUT — consuming stock (linked to a project)

  - TRANSFER — moving stock between warehouses

- Select Material and enter Quantity.

- Optionally link to a Project and enter a Reference number.

- Click ✅ Record Transaction.

## 7.3  Main Warehouse vs Project Warehouse

| Warehouse Type | Purpose | Visibility |
| --- | --- | --- |
| Main Warehouse | Central spare parts store — shared by all projects | All projects |
| Project Warehouse | Stock allocated to a specific project or site | That project only |

# 8.  Asset Register

The Asset Register stores manufacturer, model, and firmware version for each container. This information is recorded once during commissioning and updated during maintenance.

- Go to 🏷 Asset Register.

- Select a Project and click 📂 Load.

- All containers for the project appear in the table.

- Click any cell in the Manufacturer, Model, or Firmware Version columns to edit.

- Click 💾 Save All Changes when done.

NOTE: The first five columns (Zone, Block, Container #, Type, Serial) are read-only. To change these, use ✏️ Edit Serials or 🔧 Edit Project.

# 9.  Materials Catalog

The Materials Catalog stores material numbers with descriptions, units, and notes. When a known material number is typed in the Daily Log form, its description fills automatically.

## 9.1  Adding Materials Manually

- Go to 🧾 Materials.

- Click ➕ Add.

- Enter Material Number, Description, Unit, and optional Notes.

- Click Save.

## 9.2  Importing from Excel

- Click 📋 Download Template to get a blank import file.

- Fill in your materials (required columns: material_number, description).

- Click 📂 Import from Excel.

Existing materials are updated, new ones are created. The import is safe to run multiple times.

# 10.  Reports

## 10.1  Daily Log Reports

- Go to 📈 Reports.

- Set filters: Project, Date range, Zone, Block.

- Click 🔍 Load Report.

- Click 📥 Export to Excel to save the filtered data.

## 10.2  Container Lifecycle

Shows the complete history of a container across all log entries.

- Go to 🔍 Lifecycle.

- Type a Serial Number (autocomplete suggests known serials) OR select via dropdowns.

- Apply optional filters (date range, material, SAP ticket).

- Click 🔍 Search by Serial or ▶ Load.

## 10.3  Analytics

Go to 📉 Analytics. Select a project and click 🔄 Refresh. Three tables are shown:

- Materials — most frequently used materials by count and total quantity

- Containers — most serviced containers

- Blocks — most active blocks by action count

## 10.4  KPI Dashboard

Go to 🎯 KPI Dashboard. Select a project and click 📊 Calculate KPIs.

| KPI | Description | Formula |
| --- | --- | --- |
| MTTR | Mean Time To Repair | Average days between fault logged and Fixed status |
| MTBF | Mean Time Between Failures | Total monitoring days ÷ number of fault events |
| Resolution Rate | Percentage of work events resolved | Fixed count ÷ total events × 100 |

## 10.5  SCADA Report (PDF)

Generates a monthly PDF operations report from SCADA export files.

- Go to 📄 SCADA Report.

- Enter the Site / Project Name.

- Click 📂 Browse next to each file input and select the corresponding SCADA export.

- Click 📂 Browse next to Save PDF to and choose where to save.

- Click ⚡ Generate PDF Report.

Required SCADA files:

| File | Content |
| --- | --- |
| working_status.xlsx | Hourly working status per container (RUNNING/STANDBY/FAULT) |
| charge_discharge__status.xlsx | Hourly charge/discharge status per container |
| Alarm_report.xlsx | Alarm log with sheets: Communications, Production, Warning |
| exported energy file | Daily energy exported (kWh) |
| imported energy file | Daily energy imported (kWh) |

# 11.  Data Management

## 11.1  Database Location

All data is stored in a single file: pv_bess_tracker.db located in the same folder as BESS Tracker.exe.

TIP: You can open this file with DB Browser for SQLite (free: sqlitebrowser.org) to view or manually edit data if needed.

## 11.2  Backup Procedure

Before every rebuild or update, run the following in CMD:

copy dist\pv_bess_tracker.db pv_bess_tracker_backup.db

Safe rebuild sequence:

copy dist\pv_bess_tracker.db pv_bess_tracker_backup.db
rmdir /s /q build dist
del "BESS Tracker.spec"
pyinstaller --onefile --windowed --name "BESS Tracker" main.py
copy pv_bess_tracker_backup.db dist\pv_bess_tracker.db

## 11.3  Sharing the Application

Two options are available:

- Share the installer — send BESS_Tracker_Setup.exe to your colleague. They run it to install the full application with shortcuts.

- Share just the exe — copy BESS Tracker.exe and pv_bess_tracker.db to a USB drive or shared folder. Run directly, no install needed.

NOTE: The database is NOT overwritten during reinstallation. Existing data is always preserved.

# 12.  Quick Reference

## 12.1  Keyboard Shortcuts

| Action | How |
| --- | --- |
| Open app | Double-click desktop shortcut |
| Switch page | Click sidebar navigation item |
| Edit a log entry | Double-click any row in Reports table |
| Delete a log entry | Right-click row → 🗑 Delete |
| Save changes | Click 💾 Save button on any form |

## 12.2  Common Workflows

| Task | Steps |
| --- | --- |
| Create a new project | ➕ New Project → fill wizard → 💾 Save |
| Add serial numbers | ✏️ Edit Serials → Load → Download Template → fill → Import |
| Record daily material usage | 📋 Daily Log → select location → fill material/qty → ✅ Save |
| Record a fault and repair | 🔧 Work Log → select location → fill fault/work/status → ✅ Save |
| Run a commissioning checklist | ✅ Checklists → Run tab → select template → ▶ Start → fill results → ✅ Finish |
| Add stock to warehouse | 📦 Spare Parts → ↕ Transaction → type IN → fill material/qty → ✅ Record |
| Generate SCADA PDF report | 📄 SCADA Report → fill site name → browse files → ⚡ Generate |
| Export daily log to Excel | 📈 Reports → set filters → 🔍 Load → 📥 Export to Excel |
| View container full history | 🔍 Lifecycle → type serial number → 🔍 Search |
| Calculate MTTR/MTBF | 🎯 KPI Dashboard → select project → 📊 Calculate |

## 12.3  Troubleshooting

| Problem | Solution |
| --- | --- |
| App opens but no data visible | Check pv_bess_tracker.db is in the same folder as the .exe |
| Serial import shows wrong serials | Download a fresh template — never reuse old templates |
| Serial import shows ID not found | Download a new template from the current running app |
| App crashes on startup | Check that pv_bess_tracker.db is not corrupted — restore from backup |
| SCADA report generation fails | Verify all 5 SCADA files are selected and are valid Excel exports |
| Stock level not updating | Ensure you selected the correct warehouse before recording the transaction |